ELLA Microwave LED Sensor Lamp

[image: image1.png]


[image: image2.png]8263.0





[image: image3.jpg]



Instruction Leaflet                     

Welcome to use ELLA 16W Microwave LED Sensor Lamp!

This product adopts microwave sensor with high-frequency electro-magnetic wave (5.8GHz). It gathers automatism, convenience, safety and energy-saving functions. The detection area is wide by adopting our detector. It works by receiving human motion. When one enters the detection area, it can start the lamp at once. Sensor identifies automatically day and night. Its installation is convenient and its application is wide. Detection signal is possible to go through doors, glass or thin walls.
SPECIFICATION:

Input Voltage: 220 -240V/AC                   Detection Range: 180°/360°
Input Frequency: 50/60Hz                     Detection Distance: wall: 5-15m (adjustable)

Ambient Light: <3-2000LUX (adjustable)                     ceiling: 2-8m (radius), adjustable

Time Delay: Min. 10sec±3sec                  HF System: 5.8GHz CW radar, ISM band

Max. 12min±1min                 Installation Height: wall: 1.5-3.5m
Rated Load: 16W (1300LM)                                    ceiling: 2-4m   

Stand-by Period: 0s, 90s, 5min, 10min,          Stand-by Dimming Level: 20%

30min, +∞(choice)           Transmission Power: <0.2mW

Power Consumption: approx 0.9W              Detection Motion Speed: 0.6-1.5m/s   

FUNCTION:

Can identify day and night: It can work both in daytime and at night when it is adjusted to “sun” position (max). It can work in ambient light less than 3LUX when it is adjusted to “3LUX” position (min). 

SENS adjustable: It can be adjusted according to different applications; detection distance could be minimum 4m and maximum distance is 16m.
Hold time is adjustable. It can be set according to the consumer’s needs. The minimum time is 10sec. The maximum is 12min.
It offers 3 levels of brightness: 100 %--> standby(20%) -->off; and 100% is hold time when there is induction signal. After hold time, it will dim to 20% of full brightness, then off. Standby time can be set from 0 second to +∞. 0s means shut off standby dim function.
[image: image4.jpg]


[image: image5.jpg]


[image: image6.jpg]


[image: image7.jpg]



[image: image8.png]


[image: image9.png]


[image: image10.png]


[image: image11.png]%27
.H‘

ﬁw~ﬁ





SENSOR INFORMATION:

[image: image12.png]SENS TIM STBY

W





[image: image13.jpg]




INSTALLATION: (see the diagram)
Switch off the power.

Open the terminal box and connect electric wire to the terminal according to connect-wire diagram. 
Fix the metal bracket base onto the ceiling through the holes with screws in accessory bag.
Fix the lamp from side with screws to the metal bracket base.
Switch on the power and test it.


CONNECTION-WIRE DIAGRAM

TEST：

Turn LUX knob clockwise to the maximum (sun). Turn SENS knob clockwise to the maximum (+). Turn TIME knob anti-clockwise to the minimum (10S),

When you switch on the power, the lamp will be on at once. And 10sec±3sec later the lamp will be off automatically. Then when there is induction signal again, it will work normally.
When the sensor receives the second induction signals within the first hold time period, new hold time will be calculated from that moment again.
Turn LUX knob anti-clockwise to the minimum (3LUX). If ambient light is less than 3LUX, the lamp will work when it receives induction signal. If ambient light is above 3LUX, sensor light will not work.
Adjust the stand-by period to “90s”, when the sensor receives induction signal, the lamp will be 100% on; 10 seconds later, the lamp dims quickly to 20% of full brightness for 90 seconds and then turn off. If the sensor receives second induction signal within the stand-by period, the lamp will be 100% on.
Note: “+∞ ”means fixture keeps on stand-by dimming level and never switches off after hold time.
      ”0s” means no standby function.

Note: when testing in daylight, please turn LUX knob to     (SUN) position, otherwise the sensor lamp could not work!
NOTES：

Electrician or experienced human can install it.

Can not be installed on the uneven and shaky surface

In front of the sensor there shouldn’t be obstructive object affecting detection.

Avoid installing it near the metal and glass which may affect the sensor.
For your safety, please don’t open the diffusor first if you find problem after installation.

SOME PROBLEM AND SOLVED WAY:

The load doesn’t work:
a. Check the power if it is on.

b. If indicator light is on after detection signal? If yes, please check the load.

c. If indicator light is not on after detection signal, please check if daylight sensor value is correct. 

d. Please check if the working voltage is AC220-240V/50Hz.

The sensitivity is poor:
a. Please check if there is object in front of the sensor, which affect receiving the signals.

b. Please check if the detection signal is in the detection distance.

c. Please check the installation height.

The sensor can’t shut off automatically the load:

a. If there are continual signals in the detection fields.

b. If the time delay is set to the longest.

c. If the power is correct.

With ambient light more than LUX setting value, the lamp does not switch on when someone enters detection area








With ambient light less than LUX setting value, the lamp will be on 100% when someone enters detection area








When someone left, after hold time, the lamp will be on at standby mode at 20% of full brightness








Lamp switches off automatically after the stand-by period








Detection Area: Max. 8m (radius)








Height of installation: 2-4m








